## Equipment List
O&M Equipment List
Equipment Location | Equipment Description (80 char limit) | Cost | Spec. Section | Drawing Sheet # | Project Name | Project Number | Discipline | Class

## Equipment Record_MECH
Equipment Record - Mechanical
Equipment Location | Equipment Description (80 char limit) | Cost | Spec. Section | Drawing Sheet # | Project Name | Project Number | Discipline | Class | Sub-Class | Manufacturer | Model | Serial Number | Installed Date | Service Life | Work Center | Status | Warranty Type | Warranty Details | Warranty Duration | Warranty Expires | Voltage 1 | Voltage 2 | Amperage 1 | Amperage 2 | Phases | Capacity | Capacity Units | Horsepower | Frame | TDH | Impeller Size/Diameter | RPM | Motor Serial Number | Motor Horsepower | Motor RPM | Motor Type | Diameter | Motor Frame Type | Motor Enclosure Type | Motor Manufacturer | Motor Model | Motor Space Heater | Power Factor | Efficiency % | Drive Type | Actuator Type | Valve Category | Valve Type
Screening | FOG Screen (M-35-0201) | 272500 |  |  |  |  | MECHANICAL | SCREEN | DRUMSCRN | Enviro-Care | VFA-1200DM | - | 1899-12-31 | 100 | NP | Active | [32 empty] | example

## Equipment Record_ELEC
Equipment Record - Electrical
Equipment Location | Equipment Description (80 char limit) | Cost | Spec. Section | Drawing Sheet # | Project Name | Project Number | Discipline | Class | Sub-Class | Manufacturer | Model | Serial Number | Installed Date | Service Life | Work Center | Status | Warranty Type | Warranty Details | Warranty Duration | Warranty Expires | Voltage 1 | Voltage 2 | Amperage 1 | Amperage 2 | Short Circuit Current Rating | VFD Cabinet Serial Number | VFD Model Number | VFD Serial Number | MCC | Switch Gear | Phase | Power Supply | ArcFlash Labeling present | Horsepower | HZ | RPM | SF | Design | Duty | C. Amb. | Temp Rise
Processing Building | Transformer (TX-35) | 12297 | 26 22 00 | 35-E-231 |  |  | ELECTRICAL | TRNSFRMR |  | Square D | EXN150T3HCUST20 | 6521502VNT00008 | 1899-12-31 | 100 | NP | ACTIVE | [25 empty] | example

## Equipment Record_INST
Equipment Record - Instrumentation
Equipment Location | Equipment Description (80 char limit) | Cost | Spec. Section | Drawing Sheet # | Project Name | Project Number | Discipline | Class | Sub-Class | Manufacturer | Model | Serial Number | Installed Date | Service Life | Work Center | Status | Warranty Type | Warranty Details | Warranty Duration | Warranty Expires | Voltage 1 | Amperage 1 | Range | Instrument Scale | Units | Size | Meter Type
Screening | LE-35-0301 | 3506.48 | 40 90 10 | 35-E-210 |  |  | INSTRUMENTATION | LEVEL | RADAR | Rosemount | 5408A1SHA1NA1R6AACAARM5 | 22SHRH0012578 | 1899-12-31 | 100 | NP | ACTIVE | [11 empty] | example

## Equipment Record_HVAC
Equipment Record - HVAC
Equipment Location | Equipment Description (80 char limit) | Cost | Spec. Section | Drawing Sheet # | Project Name | Project Number | Discipline | Class | Sub-Class | Manufacturer | Model | Serial Number | Installed Date | Service Life | Work Center | Status | Warranty Type | Warranty Details | Warranty Duration | Warranty Expires | Voltage 1 | Voltage 2 | Amperage 1 | Amperage 2 | Capacity | Capacity Units | Horsepower | Motor Serial Number | Motor Horsepower | Motor RPM | Motor Type | kW | Tons | BTU | Environment
Processing Building | Air Handling Unit (MAU-1) | 170000 | 23 77 00 | 35-M-230 |  |  | HVAC | HVAC | AIRHAND | Trane | CSAA017UB | H21L17075A | 1899-12-31 | 100 | NP | Active | [19 empty] | example

## Equipment Record_STRUC
Equipment Record - Structural
Equipment Location | Equipment Description (80 char limit) | Cost | Spec. Section | Drawing Sheet # | Project Name | Project Number | Discipline | Class | Sub-Class | Manufacturer | Model | Serial Number | Installed Date | Service Life | Work Center | Status | Warranty Type | Warranty Details | Warranty Duration | Warranty Expires | Material | Capacity | Product | Tank Monitor | Coating Type | Roofing Type | Roof Area
Admin, Main Building | Roof, Admin Bldg | 18813.5781 |  |  |  |  | STRUCTURAL | ROOF | BUILT-UP | Tremco Incorporated |  |  | 2005-01-06 | 21 | AB | Active | 15 YR QA Plus for New Roofs | 104803 | 15 YR | 2020-01-06 | [5 empty] | Built-up, Granular Cap | 2886 | EXAMPLE

## Discipline-Class
Discipline | Class | Class Description | REFERENCE ONLY
MECHANICAL | ACTUATOR | Actuator
MECHANICAL | AIREQUIP | Air Equipment (Compressed)
INSTRUMENTATION | ALARM | Alarm
INSTRUMENTATION | ANALYZER | Analyzer
MECHANICAL | ARRESTOR | Flame Arrestor
MECHANICAL | BACKFLOW | Backflow Preventer
ELECTRICAL | BATTCHAR | Battery and Charger
MECHANICAL | BLOWER | Blower (High Volume, Process Related)
MECHANICAL | BOILER | Boiler
STRUCTURAL | BUILDING | Building
MECHANICAL | BURNER | Burner
INSTRUMENTATION | CATHODIC | Cathodic Protection
MECHANICAL | CENTRIF | Centrifuge
STRUCTURAL | CHAMBER | Chamber
STRUCTURAL | CHANNEL | Channel
MECHANICAL | CLEANOUT | Cleanout
ELECTRICAL | CNTRLPNL | Control Panel
STRUCTURAL | COATING | Coating
MECHANICAL | COLLECTR | Collector
MECHANICAL | COMPRESS | Compressor
STRUCTURAL | CONTAIN | Secondary Containment
ELECTRICAL | CONTRLLR | Controller
MECHANICAL | CONVEYOR | Conveyor
STRUCTURAL | COVER | Cover
MECHANICAL | DAMPER | Damper
INSTRUMENTATION | DAS | Data Acquisition System
DCS | DCS | Distributed Control System
INSTRUMENTATION | DETECTOR | Gas Detector / Multi-Gas Detector
STRUCTURAL | DOOR | Door
STRUCTURAL | DRAINAGE | Drainage
MECHANICAL | DRYER | Dryer
ELECTRICAL | ELECTEQT | Electrical Equipment
MECHANICAL | ELEVATOR | Elevator
MECHANICAL | ENGINE | Engine
MECHANICAL | ENTGATE | Entrance Gate
MECHANICAL | FEEDER | Feeder
MECHANICAL | FILTER | Filter
INSTRUMENTATION | FLOWMETR | Flow Meter
MECHANICAL | GBT | Gravity Belt Thickener
MECHANICAL | GEARBOX | Gearbox
ELECTRICAL | GENERATR | Generator
ELECTRICAL | GENSET | Genset
MECHANICAL | GRINDER | Grinder
MECHANICAL | GRITREM | Grit Removal
MECHANICAL | HEATEXCH | Heat Exchanger
MECHANICAL | HOIST | Hoist
STRUCTURAL | HOPPER | Hopper
HVAC | HVAC | HVAC
HVAC | HVACFAN | HVAC Fan
HVAC | HVACHEAT | HVAC Heat
MECHANICAL | IMP | Integrated Motor Pump
MECHANICAL | INCINER | Incinerator
MECHANICAL | LATERAL | Lateral
MECHANICAL | LAWNEQPT | Lawn Equipment
INSTRUMENTATION | LEVEL | Level Transmitter
MECHANICAL | LIGHTING | Lighting
HVAC | LOUVER | Louver
ELECTRICAL | LVSWGEAR | Low Voltage Switchgear
MECHANICAL | MAIN | Main (Interceptor)
STRUCTURAL | MANHOLE | Manhole
ELECTRICAL | MCC | Motor Control Center
MECHANICAL | MISCEQPT | Miscellaneous Equipment
MECHANICAL | MIXER | Mixer
ELECTRICAL | MOTOR | Motor
ELECTRICAL | MTRCONTR | Motor and Controller
ELECTRICAL | MVSWGEAR | Medium Voltage Switchgear
INSTRUMENTATION | NETWORK | Network
MECHANICAL | OUTFALL | Out Fall
MECHANICAL | PIPE | Pipe
INSTRUMENTATION | PLC | Programmable Logic Controller
INSTRUMENTATION | PRESSURE | Pressure Transmitter
MECHANICAL | PROCFAN | Process Fan
MECHANICAL | PROCHEAT | Process Heat
MECHANICAL | PROGATE | Process Gates
ELECTRICAL | PROTECDV | Protective Devices
MECHANICAL | PUMP | Pump
ELECTRICAL | PWRPANEL | Power Panel
MECHANICAL | REACTOR | Reactor
STRUCTURAL | ROOF | Roof
MECHANICAL | SAFETY | Safety
INSTRUMENTATION | SAMPLER | Sampler
MECHANICAL | SAW | Saw (Machine Shop)
MECHANICAL | SCREEN | Screen
MECHANICAL | SCRUBBER | Scrubber
INSTRUMENTATION | SECURITY | Security
STRUCTURAL | SIPHON | Siphon Chamber
MECHANICAL | STRAINER | Strainer
ELECTRICAL | SWBOARD | Switchboard
ELECTRICAL | SWGEAR | Switchgear
ELECTRICAL | SWITCH | Switch
STRUCTURAL | TANK | Tank
INSTRUMENTATION | TEMPINST | Temperature Transmitter / Controller
ELECTRICAL | TRANSW | Transfer Switch
ELECTRICAL | TRNSFRMR | Transformer
ELECTRICAL | UPS | Uninterruptible Power Supply
MECHANICAL | UV | Ultra Violet Disinfection
MECHANICAL | VALVE | Valve
STRUCTURAL | VAULT | Vault
MECHANICAL | VEHICLE | Vehicle
INSTRUMENTATION | WEATHER | Weather Station
MECHANICAL | WELDING | Welding
MECHANICAL | WETUNIT | Wetting Unit
STRUCTURAL | WETWELL | Wet Well

## drop-downs
MECHANICAL | OUTDOORS | REFERENCE ONLY
ELECTRICAL | INDOORS
INSTRUMENTATION
HVAC
STRUCTURAL