Pump Station Information Form

Note:    Please complete this form as much as possible and submit to HRSD, if your project calls for:

- a new pump station facility,

- upgrades and/or modifications to an existing pump station facility, or

- a replacement of an existing pump station facility.

| Project Name: |  |  |
| --- | --- | --- |
| Jurisdiction: |  |

Pump Station Facility Information

| Pump station number: |  |  | As provided by locality |
| --- | --- | --- | --- |
| Name: |  |  | Pump station name |
| Ownership: |  |  | Is this a “Private” or “Public” pump station facility? |
| Number of pumps: |  | Number of pumps in the pump station |  |
| Design TDH: |  | Total Dynamic Head for the pumps (ft) |  |
| Firm capacity: |  | Design capacity with largest capacity pump out of service (gpm) |  |
| Total capacity: |  | Pump station design capacity with all pumps operating (gpm) |  |
| Configuration type: |  |  | WW/DW, Submersible, Vacuum, Suction lift, Dry pit |
| Force main outfall type: |  |  | Select force main outfall type (gravity, pressure) |
| Drive type: |  |  | Motor drive (Constant, VFD) |
| Vertical datum : |  |  | Vertical Datum - Year of Adjustment |
| Construction year: |  | Year the pump station was built |  |

Wet Well Information

| Ground elev: |  | Existing or new ground elevation (ft) |
| --- | --- | --- |
| Top slab elev: |  | Wet well top elevation (ft) |
| Bottom slab elev: |  | Wet well bottom slab elevation (ft) |
| Influent invert elev: |  | Invert elevation of influent pipe into the pump station wet well (ft) |
| Lead pump ON elev: |  | Pump control setting elevation (ft) |
| Lag pump ON elev: |  | Pump control setting elevation (ft) |
| Lead pump OFF elev: |  | Pump control setting elevation (ft) |
| Lag pump OFF elev: |  | Pump control setting elevation (ft) |
| VFD Set Point elev: |  | Set point for VFD pumps (ft) |
| CL of pump volute elev: |  | Center line of pump volute elevation (ft) |
| High water alarm elev: |  | Alarm setting elevation (ft) |
| Cross-sectional area: |  | Cross-sectional area based on operational storage volume (ft2) |
| Overflow elev: |  | Elevation at which SSO will first occur at PS or upstream SMH (ft) |
| Overflow point location: |  |  |
| Note: Provide location of known lowest manhole rim upstream of the pump station where an overflow would first occur. Please Include a map to indicate this location. |  |  |

Pump Information

| Pumps | Pump Manufacturer | Model | Min. impeller di. (in) | Max. impeller di. (in) | Installed impeller di. (in) |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |

Motor Information (For constant speed pumps, use the “Max Speed” column to report motor speed)

| Motors | Motor Manufacturer | HP | Min. Speed | Max. Speed |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |

Note:  For constant speed pumps fill out the “Maximum Pump Curves” table ONLY.

Maximum Pump Curves	(Units should be in feet for H and gpm for Q)

| Pump Curve Points |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pump 1 | H |  |  |  |  |  |  |  |  |  |
|  | Q |  |  |  |  |  |  |  |  |  |
| Pump 2 | H |  |  |  |  |  |  |  |  |  |
|  | Q |  |  |  |  |  |  |  |  |  |
| Pump 3 | H |  |  |  |  |  |  |  |  |  |
|  | Q |  |  |  |  |  |  |  |  |  |
| Pump 4 | H |  |  |  |  |  |  |  |  |  |
|  | Q |  |  |  |  |  |  |  |  |  |

Minimum Pump Curves	(Units should be in feet for H and gpm for Q)

| Pump Curve Points |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pump 1 | H |  |  |  |  |  |  |  |  |  |
|  | Q |  |  |  |  |  |  |  |  |  |
| Pump 2 | H |  |  |  |  |  |  |  |  |  |
|  | Q |  |  |  |  |  |  |  |  |  |
| Pump 3 | H |  |  |  |  |  |  |  |  |  |
|  | Q |  |  |  |  |  |  |  |  |  |
| Pump 4 | H |  |  |  |  |  |  |  |  |  |
|  | Q |  |  |  |  |  |  |  |  |  |

| Applicant’s Name: |  | Date: |  |
| --- | --- | --- | --- |